Eyewash station checklist

Date __________________________________   Site or building __________________________________

Station location or ID __________________________________   Checked by __________________________________

Type (plumbed, self-contained or personal) __________________________________   Next check due __________________________________

Access and signs

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Nothing blocks the path to the station | ☐ | ☐ | ☐ |
| The station can be reached in about ten seconds from the hazard | ☐ | ☐ | ☐ |
| The sign is posted and visible, and the area around it is lit | ☐ | ☐ | ☐ |
| The path doesn't cross a step, a door that sticks or a spot that can be locked | ☐ | ☐ | ☐ |
| Any emergency shower beside it is also clear | ☐ | ☐ | ☐ |

The station

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Unit is firmly mounted and undamaged | ☐ | ☐ | ☐ |
| Dust covers or caps are in place, and they come off when the water starts | ☐ | ☐ | ☐ |
| Nozzles are clean and free of rust, scale and debris | ☐ | ☐ | ☐ |
| Handle or push plate works, and the water stays on without a hand held on it | ☐ | ☐ | ☐ |
| Water flows from both nozzles in a soft, even stream | ☐ | ☐ | ☐ |
| Water runs clear and, for a plumbed unit, at a comfortable temperature | ☐ | ☐ | ☐ |
| Self-contained units are full, and the fluid is in date | ☐ | ☐ | ☐ |
| No leaks, drips or corrosion at the connections | ☐ | ☐ | ☐ |

Records and people

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Unit was flushed at the interval the maker and your procedure set | ☐ | ☐ | ☐ |
| The inspection tag or log is filled out and dated | ☐ | ☐ | ☐ |
| Anything that failed was tagged and reported | ☐ | ☐ | ☐ |
| A replacement or a nearby station is available while one is out | ☐ | ☐ | ☐ |
| Workers who use chemicals know where the station is and how to use it | ☐ | ☐ | ☐ |
| Safety data sheets for the nearby chemicals are on hand | ☐ | ☐ | ☐ |

Defects found and action taken

____________________________________________________________________________________________________

____________________________________________________________________________________________________

____________________________________________________________________________________________________

Taken out of service?  ☐ Yes   ☐ No        Reported to ______________________

Inspector signature __________________________________   Date __________________________________

Supervisor review __________________________________   Date __________________________________

A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com