Fire extinguisher monthly inspection

Date __________________________________   Site or building __________________________________

Inspector __________________________________   Number of extinguishers checked __________________________________

Extinguisher locations or IDs __________________________________   Next check due __________________________________

Location and access

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Extinguisher is in its marked place | ☐ | ☐ | ☐ |
| Nothing blocks the way to it | ☐ | ☐ | ☐ |
| Sign or marking is visible | ☐ | ☐ | ☐ |
| It's mounted or stored as the maker says | ☐ | ☐ | ☐ |
| Type fits the hazard in this area | ☐ | ☐ | ☐ |

The extinguisher

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Pin is in place | ☐ | ☐ | ☐ |
| Tamper seal is intact | ☐ | ☐ | ☐ |
| Gauge reads in the operating range | ☐ | ☐ | ☐ |
| Body shows no dents, corrosion or leaks | ☐ | ☐ | ☐ |
| Hose and nozzle are clear and undamaged | ☐ | ☐ | ☐ |
| Handle and lever are undamaged | ☐ | ☐ | ☐ |
| Label is legible and faces out | ☐ | ☐ | ☐ |
| Instructions on the label can be read | ☐ | ☐ | ☐ |

Records and follow-up

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Service tag is attached and current | ☐ | ☐ | ☐ |
| Last service is within your required interval | ☐ | ☐ | ☐ |
| Monthly check is initialed and dated on the tag or log | ☐ | ☐ | ☐ |
| Failed extinguishers are tagged and pulled for service | ☐ | ☐ | ☐ |
| A replacement is in place while one is out | ☐ | ☐ | ☐ |

Defects found and action taken

____________________________________________________________________________________________________

____________________________________________________________________________________________________

____________________________________________________________________________________________________

Taken out of service?  ☐ Yes   ☐ No        Reported to ______________________

Inspector signature __________________________________   Date __________________________________

Supervisor review __________________________________   Date __________________________________

A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com