GPU inspection checklist

Date __________________________________   Time __________________________________

Station or ramp __________________________________   Operator name __________________________________

Unit number __________________________________   Hours __________________________________

Cables and connectors

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Cable jacket has no cuts, crushing, burns or exposed wire | ☐ | ☐ | ☐ |
| Connector pins, plug and housing are clean and undamaged | ☐ | ☐ | ☐ |
| Strain relief at both ends is intact | ☐ | ☐ | ☐ |
| Cable storage or reel works and holds the cable off the ground | ☐ | ☐ | ☐ |
| Grounding connection and cable are in good condition | ☐ | ☐ | ☐ |

Unit

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Housing, doors and guards are in place and secure | ☐ | ☐ | ☐ |
| Controls, switches and indicators work | ☐ | ☐ | ☐ |
| Emergency stop works | ☐ | ☐ | ☐ |
| Engine: oil, coolant and fuel levels, no leaks, or battery is secure and charged | ☐ | ☐ | ☐ |
| No fluid leaks under the unit | ☐ | ☐ | ☐ |
| Exhaust and cooling areas are clear | ☐ | ☐ | ☐ |

Mobility and safety

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Tires and wheels are in good condition | ☐ | ☐ | ☐ |
| Brakes or chocks hold the unit | ☐ | ☐ | ☐ |
| Tow bar or hitch is secure | ☐ | ☐ | ☐ |
| Fire extinguisher is present and charged | ☐ | ☐ | ☐ |
| Warning labels and data plate are on and readable | ☐ | ☐ | ☐ |

Defects found and action taken

____________________________________________________________________________________________________

____________________________________________________________________________________________________

____________________________________________________________________________________________________

Taken out of service?  ☐ Yes   ☐ No        Reported to ______________________

Inspector signature __________________________________   Date __________________________________

Supervisor review __________________________________   Date __________________________________

A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com