## Scaffold inspection checklist
Scaffold inspection checklist
Date
Time
Site or location
Scaffold location or ID
Scaffold type
Competent person
Foundation | Result | Notes
Base plates and mudsills are in place and sound
Ground under the scaffold is firm, level and not undermined
Scaffold is plumb and level
Frame and structure | Result | Notes
Frames, braces and couplers are present and undamaged
Cross-bracing is secure
Ties or anchors are in place where required
Load rating is posted and the scaffold is not overloaded
Platform and access | Result | Notes
Planks or decks are fully in place, secure and undamaged
No gaps in the platform beyond what's allowed
Guardrails, midrails and toe boards are in place
A safe way up is provided: ladder, stair tower or ramp
Platforms are clear of debris and loose material
Hazards around the scaffold | Result | Notes
Clearance from power lines is maintained
Overhead protection is in place where people work or walk below
Tag is posted and shows the current status
Nothing has been added, removed or moved since the last inspection
Defects found and action taken
Taken out of service? |  | Reported to
Inspector signature
Date
Supervisor review
Date
A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com