Site safety inspection checklist

Date __________________________________   Time __________________________________

Site or location __________________________________   Inspector __________________________________

Weather and conditions __________________________________   Work underway __________________________________

Site and people

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Site access is controlled, with signs and sign-in | ☐ | ☐ | ☐ |
| Walkways, roads and work areas are clear | ☐ | ☐ | ☐ |
| Housekeeping is in order, with no trip hazards | ☐ | ☐ | ☐ |
| Required PPE is worn and in good condition | ☐ | ☐ | ☐ |
| Signs and barricades are in place and visible | ☐ | ☐ | ☐ |
| Stop work authority is known to the crew | ☐ | ☐ | ☐ |

Working at heights and below grade

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Scaffolds are tagged and inspected | ☐ | ☐ | ☐ |
| Ladders are in good condition and used properly | ☐ | ☐ | ☐ |
| Fall protection is in use where required | ☐ | ☐ | ☐ |
| Excavations are inspected, with a safe way in and out | ☐ | ☐ | ☐ |
| Floor and roof openings are covered or guarded | ☐ | ☐ | ☐ |

Energy and fire

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Temporary power is in good shape, with cords off the ground | ☐ | ☐ | ☐ |
| Ground-fault protection is in use as required | ☐ | ☐ | ☐ |
| Lockout and tagout is followed where needed | ☐ | ☐ | ☐ |
| Fire extinguishers are in place, charged and tagged | ☐ | ☐ | ☐ |
| Hot work has a permit, where required | ☐ | ☐ | ☐ |
| Flammables are stored properly | ☐ | ☐ | ☐ |

Materials, equipment and response

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Hazardous materials are labeled, with safety data sheets on site | ☐ | ☐ | ☐ |
| Equipment is inspected and in good order | ☐ | ☐ | ☐ |
| Operators are trained for the equipment they run | ☐ | ☐ | ☐ |
| First aid kit is stocked and easy to reach | ☐ | ☐ | ☐ |
| Emergency numbers, address and assembly point are posted | ☐ | ☐ | ☐ |

Defects found and action taken

____________________________________________________________________________________________________

____________________________________________________________________________________________________

____________________________________________________________________________________________________

Taken out of service?  ☐ Yes   ☐ No        Reported to ______________________

Inspector signature __________________________________   Date __________________________________

Supervisor review __________________________________   Date __________________________________

A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com