## Site safety inspection checklis
Site safety inspection checklist
Date
Time
Site or location
Inspector
Weather and conditions
Work underway
Site and people | Result | Notes
Site access is controlled, with signs and sign-in
Walkways, roads and work areas are clear
Housekeeping is in order, with no trip hazards
Required PPE is worn and in good condition
Signs and barricades are in place and visible
Stop work authority is known to the crew
Working at heights and below grade | Result | Notes
Scaffolds are tagged and inspected
Ladders are in good condition and used properly
Fall protection is in use where required
Excavations are inspected, with a safe way in and out
Floor and roof openings are covered or guarded
Energy and fire | Result | Notes
Temporary power is in good shape, with cords off the ground
Ground-fault protection is in use as required
Lockout and tagout is followed where needed
Fire extinguishers are in place, charged and tagged
Hot work has a permit, where required
Flammables are stored properly
Materials, equipment and response | Result | Notes
Hazardous materials are labeled, with safety data sheets on site
Equipment is inspected and in good order
Operators are trained for the equipment they run
First aid kit is stocked and easy to reach
Emergency numbers, address and assembly point are posted
Defects found and action taken
Taken out of service? |  | Reported to
Inspector signature
Date
Supervisor review
Date
A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com