Wellsite pad walkaround

Date __________________________________   Time __________________________________

Lease or pad name __________________________________   Walked by __________________________________

Company __________________________________   Weather __________________________________

Road, access and signs

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Lease road is passable, with no washouts or standing water | ☐ | ☐ | ☐ |
| Gate is closed and locked, or manned | ☐ | ☐ | ☐ |
| Entry sign and emergency contact sign are posted and readable | ☐ | ☐ | ☐ |
| Warning and hazard signs are in place | ☐ | ☐ | ☐ |
| Speed and parking rules are followed | ☐ | ☐ | ☐ |

Containment, leaks and fire

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Containment and berms are intact | ☐ | ☐ | ☐ |
| No fresh spills or staining on the ground | ☐ | ☐ | ☐ |
| Tanks, lines, fittings and valves show no leaks or drips | ☐ | ☐ | ☐ |
| Fire extinguishers are in place, charged and tagged, per your program | ☐ | ☐ | ☐ |
| Ignition sources are controlled, per the site's procedure | ☐ | ☐ | ☐ |

Wind and gas detection

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Wind direction indicator is up and visible | ☐ | ☐ | ☐ |
| Gas detection equipment is present and working, per the site's procedure | ☐ | ☐ | ☐ |
| Detectors are bump tested or calibrated, per the maker and your program | ☐ | ☐ | ☐ |
| Everyone on site knows what the alarm means | ☐ | ☐ | ☐ |

Muster point, housekeeping and vehicles

| Item | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Muster point is marked and known to everyone on site | ☐ | ☐ | ☐ |
| Walkways, pad and work areas are clear of trip hazards | ☐ | ☐ | ☐ |
| Trash, tools and materials are put away | ☐ | ☐ | ☐ |
| Vehicles are parked as the site requires | ☐ | ☐ | ☐ |
| Sign-in sheet is in use for everyone on the pad | ☐ | ☐ | ☐ |

Defects found and action taken

____________________________________________________________________________________________________

____________________________________________________________________________________________________

____________________________________________________________________________________________________

Taken out of service?  ☐ Yes   ☐ No        Reported to ______________________

Inspector signature __________________________________   Date __________________________________

Supervisor review __________________________________   Date __________________________________

A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com