## Wellsite pad walkaround
Wellsite pad walkaround
Date
Time
Lease or pad name
Walked by
Company
Weather
Road, access and signs | Result | Notes
Lease road is passable, with no washouts or standing water
Gate is closed and locked, or manned
Entry sign and emergency contact sign are posted and readable
Warning and hazard signs are in place
Speed and parking rules are followed
Containment, leaks and fire | Result | Notes
Containment and berms are intact
No fresh spills or staining on the ground
Tanks, lines, fittings and valves show no leaks or drips
Fire extinguishers are in place, charged and tagged, per your program
Ignition sources are controlled, per the site's procedure
Wind and gas detection | Result | Notes
Wind direction indicator is up and visible
Gas detection equipment is present and working, per the site's procedure
Detectors are bump tested or calibrated, per the maker and your program
Everyone on site knows what the alarm means
Muster point, housekeeping and vehicles | Result | Notes
Muster point is marked and known to everyone on site
Walkways, pad and work areas are clear of trip hazards
Trash, tools and materials are put away
Vehicles are parked as the site requires
Sign-in sheet is in use for everyone on the pad
Defects found and action taken
Taken out of service? |  | Reported to
Inspector signature
Date
Supervisor review
Date
A starting point. Adapt it to your equipment, your procedures and the rules that apply to you. Free template from portalbaseai.com